## Page 1
Point of Work Assessment of Risk for Refrigeration, Air Conditioning and Heat Pump Systems
(please read introductory text accompanying this template which forms part of the IOR Guidance Note)
Client / Site | [6 empty] | Project Title
Contract No. | [6 empty] | Location
Part 1 – Stop | Before you start |  |  | Yes | No | N/A |  | Part 3 - Act | Additional Safety Assessment (continue on separate sheet if required)
| Are you authorised and qualified to undertake the work. |  |  |  |  | `
| Are you at the correct plant / component? | [7 empty] | Hazard (circled from Part 2) | Control Measures / Precautions |  | Remaining Risk
| Have you done the job before if not do you know what you are doing? | [10 empty] | (High, Medium
| Do I know how to get help or where to go in an emergency? | [10 empty] | or Low)
Do you have Risk Assessment (RA), Method Statement, Hot Work or other Permit to Work and have you signed on to them?
If you are working to Generic RA’s please list the applicable ones overleaf:
Is the client aware of your work?
Does someone know where you are working?
Do you have the right PPE (Personal protective equipment) and / or Respiratory Protective Equipment for the job?
Are your test meters (electrical/gas) in calibration?
Ammonia work - is there a shower, hose or buckets of water nearby?
Work equipment – are you trained in its use?
If working with flammable refrigerant have you identified the extent of zoning, eliminated relevant ignition sources, ensured adequate ventilation and suitability of equipment?
Are power tools and leads and plant tested?
Are scaffolds and ladders inspected (access safe)?
Is lifting equipment inspected?
Have you inducted the contractors?
If answer is ‘No’ to any of the above, take required action or report to your supervisor. If in doubt ask!
Part 2 - Think | Safety and Health Assessment (if the hazard is present tick the box)
| Falls from height | Slips, trips or falls on the same level | Temperature (high/low)
| Fragile surfaces | Entry into a confined space | Adverse weather
| Falling or flying objects | Fumes | Risk to you from the work of others
| Chemicals or harmful substances | Noise | Risk to others from your work
| Heat, fire or explosion | Vibration | Stored energy or insecure load | [5 empty] | Date |  | Time
| Asphyxiation or drowning | Electricity | Traffic or moving vehicles | [5 empty] | Name |  | Signature of employer or self employed person
| Contact with stationary object | Manual handling | Asbestos present |  |  |  |  | Part 4 - Review | End of Job Review
| Object overturning or collapsing | Poor lighting | Other risk identified (state overleaf) | [5 empty] | Are there any lessons for next time? |  |  | Yes | No
| If required, you must have a rescue plan in place. Provide brief details below or overleaf. | [7 empty] | Has the work created any new hazards |  |  | Yes | No
| (You must always be able to provide a way of safe escape in the event of something going wrong). | [7 empty] | If you have answered ‘Yes’ to either of these questions, make a brief note below and tell your supervisor.
Circle any ticks for hazards that are significant and for which there are no (or inadequate) controls. If you have circled any hazards, Part 3 needs to be completed and additional controls put in place before work commences.
Adapted from CITB Point of Work checklist part of Construction Site Safety (GE 700) publication series available at www.citb.co.uk/publications PAGE 1

## Page 2 continuation sheet
Adapted from CITB Point of Work checklist part of Construction Site Safety (GE 700) publication series available at www.citb.co.uk/publications - page 2
Point of Work Assessment of Risk (continuation sheet for further details)
Client / Site | Project Title
Contract No. | Location
Name | Date